Request forClarification of Casas Carlina Drawings

- In the structuraldrawing CIP_S-2 section no.1, column R-3at axis D and axis 5 is conflicted by window W-3 at axis D in the architectural drawing A2 section no.1, how to settle the problem?

- In the structural drawing S-2 section no.6，there is no height specifications of all the columns.

- In the structural drawing S-3 section no.1，there isno beam indicatealong the axis C between axis 2 and 4. Please clarify.

- In the structural drawing S-3 section no.1, can the beam 2G-2betweenaxisC and B at axis5 be canceled？

- In the structural drawing S-4 section no.1，the deck surrounded byaxis D to B and axis 2 to 4 is originally designed to be light-steel structure, can it be adjusted into cast in place RC structure? Which refers to the method inthe structural drawingS-3 section no.2and 3？

- In the architectural drawing A2 section no.1, there is no measurement of the extension wall in axis D and axis 3.

- In the architectural drawing A2-section no.1, there is no measurement of the extension wall inaxis A and axis 1 to 2.

- In the architectural drawing A2 section no.1, there is no measurementof the wall heights in axis A.

- In the architectural drawing A2 section no.8, there is no measurement of the wall heights inaxis 3.

- In the architectural drawing A2 section no.2, there is no measurement of the extension wall in axisB and axis 3.

- In the architectural drawing A2 section no.2, there is no measurement of the wall in axis C to D and axis 2，and it differs from the architectural drawingS-4 section no. 1.